**Minutes of Technical Committee Meeting for Evaluation of Demonstration Sheet for Tender No. BMSICL/2022-23/ME-315 held on 05th December 2023 at Conference hall of BMSICL, Patna.**

1. Attendance - As per the attendance register.

**2.** In the TEC meeting dated 14.09.2023, It was decided unanimously to recommend for demonstration of the equipment Foetal Doppler & Phototherapy for which the following bidders were found technically qualified:-

|  |  |  |  |
| --- | --- | --- | --- |
| Sl. No | Name of Equipment | Name of Bidders | Status |
| 1 | Foetal Doppler | M/s Unik Surgical Pvt. Ltd. | Bidder is technically qualified |
| M/s Ocean Healthcare Industries | Bidder is technically qualified |
| 2 | Phototherapy | M/s Unik surgical Pvt. Ltd | Bidder is technically qualified |
| M/s Radmad Healthcare Private Limited | Bidder is technically qualified |
| M/s BLT Monitoring Co. Ltd. | Bidder is technically qualified |

**3**. Accordingly, the demonstration of medical equipment namely Foetal Doppler & Phototherapy of the qualified bidders was held on 16.10.2023 and 31.10.2023 as per schedule. The technically qualified firms demonstrated their quoted model of equipment in presence of committee consisting of experts from PMCH, Patna, NMCH Patna.

**4**. After the demonstration, firm M/s Radmad Healthcare Private Limited gave a representation against the firm Phoenix Medical System of Phototherapy equipment quoted by bidder M/s Unik Surgical Pvt. Ltd. In Context to this, intimation was sent through e-mail dated 23.11.2023 to M/s Unik Surgical Pvt. Ltd. to clarify their grounds on the above said representation.

5. In Context to BMSICL email dated the firm M/s Unik Surgical Pvt. Ltd. clarified the following through e-mail dated 24.11.2023:-

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl. No.** | **Representation Submitted by M/s Radmad Healthcare Private Limited** | **Clarification Submitted by M/s Unik surgical Pvt. Ltd.** | **Remarks** |
| 1 | M/s Phoenix Medical System was debarred / blacklisted by RMSCL, Rajasthan and Blacklisting/debar is effective for one year from the date of issuance of letter i.e. 18.09.2023. The Bid submission last date of BMSICL, Bihar was 11.08.2023.  **(Copy Attached- Annexure I )** | M/s Phoenix Medical System replied that our blacklisting has now been revoked with RMSCL, Our blacklisting is not related to phototherapy equipment, Instead, it stemmed from the non supply of infant radiant warmer during the pandemic period of covid-19 because of shortage of raw material.  **(Copy Attached- Annexure II )** | M/s Phoenix Medical System has accepted that their firm was blacklisted/ debarred by RMSCL. As per RMSCL office order no.1264 dated 19.09.2022, the said firm was not to participate in tendering process due to blacklisted / debarred for one year. Which was effective from 19.09.2022 to 18.09.2023. The tender no ME-315 was opened on 11.08.2023. Hence Bidder **M/s Unik surgical Pvt. Ltd.** is technically disqualied for Phototherapy equipment due to its debarment/blacklisting in RMSCL Rajasthan at the time of bid submission in BMSICL, Patna. |

**6.** After perusal of demonstration report and clarification of the firm **M/s Unik surgical Pvt. Ltd.** by the committee in todays’ meeting, the equipment wise/firm wise status was found as following:-

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl. No.** | **Name of Equipment** | **Name of Bidders** | **Make & model of the quoted Equipment** | **Remarks** |
| **1** | Foetal Doppler | M/s Unik Surgical Pvt. Ltd. | **Make-** Mericonn  **Model-** FD-200**.** | **Technically**  **Qualified** |
| M/s Ocean Healthcare Industries | **Make-** Vcomin Technology Limited  **Model-** FD-200D | **Technically**  **Qualified** |
| 2 | Phototherapy | M/s Unik surgical Pvt. Ltd | **Make-** Phoenix Medical System  **Model-:** Brilliance PRO | **Technically Disqualified due to reasons mentioned as above.** |
| M/s Radmad Healthcare Private Limited | **Make-** OKUMAN MEDIKAL SISTEMLER ANONIM SIRKETI  **Model-** BILICARE | **Technically Qualified** |
| M/s BLT Monitoring Co. Ltd. | **Make-** AVI Healthcare Pvt. Ltd.  **Model-** Bilipod LED | **Technically Qualified** |

**7.** It was therefore unanimously decided to recommend for opening of the financial bids of the qualified firms for **Foetal Doppler** i.e. M/s Unik Surgical Pvt. Ltd., M/s Ocean Healthcare Industries and for **Phototherapy** i.e. M/s Radmad Healthcare Private Limited and M/s BLT Monitoring Co. Ltd. The meeting thus concluded with a vote of thanks.

|  |  |
| --- | --- |
| Sd/-  **(Sh. Navindra Kumar)**  DGM (Equipment),  BMSICL | Sd/-  **(Sh. Mritunjay Kumar)**  AO-Cum I/C Procurement,  SHSB |
| Sd/-  **(Sh. Ravindra Kumar)**  GM (Procurement),  BMSICL | Sd/-  **(Sh. Najar Hussain)**  CGM, Supply Chain,  BMSICL |
| **Sd/-**  **(Sh. Sudhir Kumar)**  Joint Secretary,  Dept. of Health, Govt. of Bihar | **Sd/-**    Director in Chief,  Dept. of Health, Govt. of Bihar |